## Sheet1
Department of Pharmacy
Pharmaceutics Lab & Machine Room
Sr. No. | Description | Model | Qty
1 | Propeller type agitator | REMI MOTOR RQ-127 | 5
2 | Microscopes | - | 5
3 | Brookfieldâ€™s viscometer | Brookfield | 1
4 | Ball mill | ROLEX | 1
5 | Sieve shaker with sieve set | SECOR,CAT NO.51 | 1
6 | Double cone blender | INSTRUMENT | 1
7 | Autoclave | INSTRUMENT | 1
8 | Vacuum Pump | - | 1
9 | Standard sieves | BHUSHAN INSTRUMENTS | 1
10 | Tablet punching machine | CADMACH,CMS-15,H/511/10-11 | 1
11 | Capsule filling machine | - | 1
12 | Ampoule washing machine | ROLEX | 1
13 | Ampoule filling and sealing machine | ROLEX | 1
14 | Tablet disintegration test apparatus IP | AJAY TM | 1
15 | Tablet dissolution test apparatus IP | AJAY TM | 1
16 | Monsantoâ€™s hardness tester | ROLEX | 3
17 | Pfizer type hardness tester | ROLEX | 3
18 | Friability test apparatus | ROLEX | 1
19 | Clarity test apparatus | - | 1
20 | Ointment filling machine | ROLEX | 1
21 | Collapsible Tube Crimping Machine | ROLEX | 1
22 | Tablet coating pan | ROLEX | 1
23 | Magnetic stirrer | MVTEX | 5
24 | Digital pH meter | SLOPE | 1
25 | Aseptic Cabinet | SECORE | 1
26 | BOD Incubator | AUTHENTIC, MULTI SPAN,ZEBRA | 1
27 | Bottle washing Machine | - | 1
28 | Bottle Sealing Machine | JINDAL,IS-112391 | 1
29 | Bulk Density Apparatus | INSTRUMENT | 1
30 | Conical Percolator (glass/ copper/ stainless steel) | - | 10
31 | Capsule Counter | - | 1
32 | Hot Plate | INSTRUMENT | 1
33 | Humidity Control Oven | INSTRUMENT | 1
34 | Liquid Filling Machine | ROLEX | 1
35 | Mechanical stirrer with speed regulator | HERA | 5
36 | Precision Melting point Apparatus | KSW | 1
37 | Tray Drier | INSTRUMENT | 1
Pharmacognosy Lab (I, &II )
38 | Microscope with stage micrometer | QUASMD | 16
39 | Digital Balance | PGB 300 | 2
40 | Autoclave | SNI | 2
41 | Hot air oven | Elite India | 2
42 | B.O.D.incubator | Instrument India | 1
43 | Refrigerator | 61107843 Elctrolux | 1
44 | Colony counter | Labtronics | 2
45 | Zone reader | Rolex | 1
46 | Digital pH meter | Labtronics model 11 | 1
47 | Sterility testing unit | Rolex | 1
48 | Camera Lucida |  | 25
49 | Eye piece micrometer | Mutex | 15
50 | Stage micrometer | Mutex | 20
51 | Moisture balance | 7492Instrument India | 1
52 | Heating mantle | Mutex | 15
53 | Flour Mill | Instrument India | 1
54 | Juicer Mixer Grinder | Kenstar | 1
55 | Micropipettes (Single and multi channeled) | Micropet | 2
56 | UV Chamber | Instrument India | 1
57 | Projection Microscope | 63093 | 1
Biotechnology Lab
58 | Orbital shaker incubator | Instrument India | 1
59 | Gel Electrophoresis (Vertical and Horizontal) | Mumbai | 1
60 | Phase contrast/Trinocular Microscope | Mutex | 1
61 | Analytical Balance | LBIF | 1
62 | Digital balance | CTG 301 B | 0
63 | AC | 40109901/2011 Tata Product | 1
64 | Laminar airflow unit | Mutex | 1
65 | Diagnostic kits to identify infectious agents |  | 1
66 | Incubator Stirrer | Authentic | 1
67 | Hot air Oven | Elite | 1
68 | Micropipettes (single and multi channeled) | Micropet | 1
69 | Sonicator | YJS120( SUN-U105) | 1
70 | Respinometer | Instrument India | 1
71 | BOD Incubator | Authentic | 1
72 | Incubator | Mutex | 1
73 | Micro Centrifuge | KBL CK 9160 | 1
74 | Incubator water bath | Instrument India | 1
75 | Autoclave | Indfos | 1
76 | Refrigerator | Blue star | 1
77 | Filtration Assembly | Borosil | 1
78 | Digital pH meter | Authetic | 1
Pharmaceutical Chemistry Lab (I, &II )
79 | Hot plates | Instrument India | 5
80 | Oven | mvtex | 3
81 | Refrigerator | 037742AS2093855 | 1
82 | Analytical Balances for demonstration | L.B.1 | 5
83 | Digital balance 10mg sensitivity | WENSAR | 10
84 | Muffle Furnace | mvtex | 1
85 | Mechanical Stirrers | Instrument India | 19
86 | Magnetic Stirrers with Thermostat | Instrument India | 13
87 | Vacuum Pump | ROCKER-300 | 1
88 | Digital pH meter | LT-1 | 1
89 | Microwave Oven | CE1031L | 1
Pharmacology Lab (I & II)
90 | Microscopes | QUASMD | 10
91 | Haemocytometer with Micropipettes | - | 12
92 | Hutchinsona’s spirometer | - | 1
93 | Spygmomanometer | ENBEE | 10
94 | Stethoscope | AJ | 10
95 | Permanent Slides for various tissues | - | 1
96 | Models for various organs | - | 1
97 | Specimen for various organs and systems | - | 1
98 | Skeleton and bones | - | 1
99 | Muscle electrodes | - | 1
100 | Lucas moist chamber | - | 1
101 | Myographic lever | - | 1
102 | Stimulator | ROLEX | 1
103 | Centrifuge | REMI | 1
104 | Physical /Chemical Balance | - | 1
105 | Sherrington Drum | ROLEX | 9
106 | Perspex bath assembly (single unit) | ROLEX | 9
107 | Aerators | SB543A | 10
108 | Software packages for experiment | - | 1
109 | Actophotometer | - | 1
110 | Rotarod | - | 1
111 | Pole climbing apparatus | SECOR | 1
112 | Analgesiometer (Eddya’s hot plate and radiant heat methods) | - | 1
113 | Convulsiometer | - | 1
114 | Plethysmograph | - | 2
115 | Dissection Tray and Boards | - | 10
116 | Levers, cannulae | - | 20
117 | Histamine Chamber | INCO | 1
Central Instrumentation Room
118 | Colorimeter | LABTRONICES -12 | 1
119 | Digital pH meter | LABTRONICES LT-11 | 1
120 | UV- Visible Spectrophotometer | SHIMADZU UV-1800 | 1
121 | Flourimeter | SYSTRONICES SR NO. 163 | 1
122 | Digital Balance (1mg sensitivity) | Adventures OHAUS | 1
123 | Digital Turbidity meter | INSTRUMENTS India | 1
124 | Flame Photometer | SYSTRONICES-128 | 1
125 | Potentiometer | Digital Potentiometer LT 132 | 1
126 | HPLC | YOUNGLIN Instruments Acme 9000 | 1
127 | Conductivity meter | LABTRONICES LT-16 | 1
128 | Brookfield viscometer | BROOKFIELD LVT | 1
129 | Dissolution tester USP | ELECTROLAB TDT 06L | 1
130 | Polorimeter | SECORE | 2
131 | Distillation unit | GV/198 | 1
132 | Univarsal tritrator | SYSTRONICES | 1
133 | Two bed Deminralizer | AQUOION TBD 50 | 1
School of Science
134 | Autoclave | SEW int India, SR.NO-547748 | 2
135 | Balance | ADAR DULT, SR.NO-21701 | 3
136 | Blue star deep freeze | BLUE STAR, HF 320 | 1
137 | Cooling Centrifuge | REMI, SR. NO.-HYCI8416 | 1
138 | Cooling Incubator (B.O.D) | REMI, CEX NO-9165 | 1
139 | Clinical Analyser | REMI, SR. NO.-110 | 2
140 | Cyclo Mixture | 725 (REMI) | 2
141 | Electrophoresis Unit (submarin MIDI) | GENEI, MIDI | 1
142 | Electrophoresis Unit (submarin MINI) | GENEI, Mini | 7
143 | Electrophoresis Unit (submarin Large) | GENEI, Large | 1
144 | SDS PAGE Unit | GENEI, Large | 2
145 | Centrifuge | REMI, AMLC-579 | 2
146 | Digital Microscope | KL 10 M | 2
147 | Digital Colony Counter | SEW | 2
148 | Digital pH Meter | Systronics, SR. NO. 4322 | 2
149 | Distilled water unit | BSIC.EC.4 BOROSIL | 1+1(breakage)
150 | Digital Potentiometer | OSAW, 30067 | 1
151 | Electrophorosis Power supply 50-100 V | GENEI,158 | 1
152 | Electrophorosis Power supply 0-500 V | GENEI/ Tarson107 | 1
153 | Flame Photometer | SYSTRONICS, SR. NO.1948 | 1
154 | Freeze | Whirlpool/ Godrej | 2
155 | HB Digital Cynameth Heam | PRIMAN, S.NO. 2027/03/03 | 1
156 | Hot Plate (1.00 KW) | S.NO.2319 | 2
157 | Hot Plate (1.2 KW) | SR. NO. 668 | 1
158 | Hot Air Oven | TEMPO/OSCAR/AMBA SSADER | 3
159 | Heating plate for Microtome | BIOCRAFT | 1
160 | Heating Mantle | MVTEX, DI/QC/M/107 | 2
161 | Incubator | SHIVAM | 2
162 | Laminar Air flow | MVTEX, MSI-124-4 | 3
163 | Laboratory Blender | REMI, FTUG-8097 | 1
164 | Laboratory Centrifuge | CMLC-2008 | 2
165 | Microscope | RXL-5T | 4(2digital+2normal)
166 | Micro Centrifuge | lead instrument, MC.1 | 1
167 | Microtome | MT-820 | 2
168 | Magnetic Stirrer | GENI/ , GZMS 2060 | 1with hot plate
169 | Magnetic stirrer | REMI, MCS-22 | 3
170 | Oven | SYSTRONICS, SR. NO.-1240 | 4
171 | Photoflurometer | S.R. NO.- 264 | 1
172 | Photoelectric Colorimeter | SYSTRONICS,SR. NO. 00778 | 2
173 | Polorimeter | 25050 | 1
174 | Rotary Shaker | SR. NO.-RIS 1136 | 1
175 | Suction Pump | ROCKER 300 | 1
176 | Soxhlet Extraction Unit | instruments Indai | 1
177 | Sodium lamp | instruments Indai | 1
178 | Thermocycler (PCR) | TC 020A-20V | 1
179 | UV- Trans Illuminator | GENEI | 1
180 | UV- Spectrophotometer 119 | SYSTRONICS, S.R. NO.- 375
181 | Water bath electric | UTS | 4
182 | Air Conditioner | PTC Lab | 1
183 | Plant Tissue Culture Racks | PTC Lab | 4
184 | Animal Cage |  | 4
Department of Civil Engineering
CAD lab
185 | COMPUTER ( WITH autoCAD SOFTWARE ) | HP iball (15.6”) | 25
ENVIRONMENT LAB-2
186 | Determine pH of sample of waste |  | 1
187 | Determine total solids of given sample |  | 1
188 | Determine total dissolved solids of sample |  | 1
189 | Determine total settleable solids |  | 1
190 | Determine total suspended solids |  | 1
191 | Quantity of dissolved oxygen present in sample |  | 1
192 | Determine biochemical oxygen demand exerted in sample |  | 1
193 | Determine chemical oxygen demand |  | 1
194 | Study various sanitary fittings |  | 1
195 | Design as per syllabus |  | 1
Engineering Geology lab
197 | Portland Cement. |  | 1kg
198 | Fly Ash |  | 1kg
199 | Stone |  | 5
200 | Fiber Reinforced Concrete |  | Nil
201 | Glass |  | 1
202 | Aluminum and Steel Sections |  | Nil
203 | Concrete Hollow Blocks |  | 3
204 | Timber |  | 1
205 | Kota Stone |  | 1
206 | Bricks |  | 5
207 | Minerals |  | 6
208 | Rocks |  | 4
209 | Wooden model |  | 1
GEOTECH lab
210 | PYECNOMETER APPRATUS |  | 1
211 | CASAGRANDE APPRATUS |  | 2
212 | DIRECT SHEAR TEST APPRATUS |  | 3
213 | OVEN RANGE (50 C TO 250 C) |  | 4
214 | PROCTOR TEST APPRATUS |  | 5
215 | CONSOLIDATION TEST APPRATUS |  | 6
216 | C.B.R. TEST APPRATUS |  | 7
217 | TRI AXIAL TEST APPRATUS |  | 8
218 | PERMEABILTY TEST MACHINE |  | 9
219 | SAND REPLACEMENT APPRATUS |  | 10
220 | IS SIEVE FOR FINE AGGREGATE |  | 13
221 | IS SIEVE FOR COURSE AGGREGATE |  | 14
222 | TRAY |  | 15
223 | TRAVEL |  | 16
224 | KEEP |  | 17
225 | PYECNOMETER APPRATUS |  | 1
226 | CASAGRANDE APPRATUS |  | 2
HHM LAB
227 | To determine the minor losses. |  | 1
228 | To determine the friction factor. |  | 1
229 | To determine Cd of Broad crested wier. |  | 1
230 | To determine the discharge of venturimeter |  | 1
231 | To plot characteristics curve of Pelton Wheel. |  | 1
232 | To plot characteristics curve of Centrifugal Pump. |  | 1
RMT lab
233 | Aggregate impact test |  | 1
234 | Angularity number test |  | 1
235 | Fineness modulus test |  | 1
236 | Los angles abrasion test |  | 1
237 | Aggregate crushing value test |  | 1
238 | Standard tar viscometer test |  | 1
239 | Specific gravity & Water absorption test |  | 1
240 | Elongation index test |  | 1
241 | Flakiness index test |  | 1
242 | Ductility test |  | 1
243 | Softening point test |  | 1
244 | Marshall stability test |  | 1
245 | Float test |  | 1
Survey lab
246 | Tape |  | 2
247 | Theodolite |  | 5
248 | Surve c ompass |  | 6
249 | Prismatic compass |  | 3
250 | Auto level |  | 3
251 | Dumpy Level |  | 3
252 | Total Station |  | 1
253 | Chain |  | 5
254 | Dumpy level tripod |  | 2
255 | Plane table tripod |  | 8
256 | Tripod station |  | 15
257 | Tangent clinometers |  | 6
258 | Planimeter |  | 4
259 | Optical Square |  | 6
260 | Tilting Level |  | 3
261 | Octogonal Staff |  | 6
262 | Staff Levelling |  | 5
263 | Ranging Rod |  | 16
Department of CS & IT
LAB Name – SE LAB
264 | Computer | INTEL P4 | 24
265 | Router
266 | Switch 16 port | D link | 2
267 | 8 Port Switch
268 | On line UPS |  | 1
269 | Switch
270 | Moniter 17" (CRT)
271 | Keyboard
272 | Mouse | TECHNXT | 24
273 | Hard disk 40 Gb | 40 Gb | 24
274 | Ram | 512 mb | 24
LAB Name – CG LAB
275 | Computer | Intel P4 | 28
276 | Router
278 | Switch
279 | 8 Port Switch
280 | On line UPS
281 | Switch
282 | Moniter 17" (CRT) | Samsung (17 ‘) | 28
283 | Keyboard | VESTA | 24
284 | Mouse | NAV TECH | 24
285 | Hard disk
286 | Ram
LAB Name – CA LAB
287 | Computer | HCL | 23
288 | Router
289 | Switch
290 | 8 Port Switch
291 | On line UPS
292 | Switch
293 | Moniter 17" (CRT) | HCl | 23
294 | Keyboard | HCL | 23
295 | Mouse | HCL | 23
296 | Hard disk | 120 Gb | 23
297 | Ram | 1 Gb | 23
LAB Name – CP LAB
298 | Computer | HCL | 28
299 | Router
300 | Switch 16 port | D link | 2
301 | 8 Port Switch
302 | On line UPS
303 | Switch 8 port
304 | Moniter 17" (CRT) | HP | 28
305 | Keyboard | HP | 28
306 | Mouse | HP | 28
307 | Hard disk | 120 gb HP | 28
308 | Ram | 1 Gb | 28
LAB Name – AP LAB
309 | Computer | HCL | 26
310 | Router
311 | Switch 16 port | Dlink | 2
312 | 8 Port Switch
313 | On line UPS
314 | Switch
315 | Moniter 17" (CRT) | HCL | 26
316 | Keyboard | HCl | 26
317 | Mouse | HCL | 24
318 | Hard disk | 120 Gb | 26
319 | Ram | 1Gb | 26
LAB Name – MMS LAB
320 | Computer | HCL | 27
321 | Router
322 | Switch 16 port | D link | 2
323 | 8 Port Switch
324 | On line UPS
325 | Switch
326 | Moniter 17" (CRT) | HCL | 28
327 | Keyboard | HCL | 27
328 | Mouse | HCl | 27
329 | Hard disk | 120 gb | 27
330 | Ram | 1 Gb | 27
LAB Name – CN LAB
331 | Computer | HCl | 23
332 | Router | Digisol | 1
333 | Switch 24 Port | Digisol | 1
334 | 8 Port Switch
335 | On line UPS
336 | Switch
337 | Moniter 17" (CRT) | HCL | 23
338 | Keyboard | HCL | 23
339 | Mouse | HCl | 23
340 | Hard disk | 120 Gb | 23
341 | Ram | 1 Gb | 23
LAB Name – Linux Lab
342 | Computer | HCL Intel G31 | 32
343 | Router
344 | Switch
345 | 8 Port Switch
346 | On line UPS
347 | Switch
348 | Moniter 17" (CRT) | 17" TFT monitor | 32
349 | Keyboard | Hcl | 32
350 | Mouse | HCl | 32
351 | Hard disk | 160Gb sata | 32
352 | Ram | 2 Gb | 32
LAB Name – Internet Lab
353 | Computer | HCL Intel G31 | 30
354 | Router
355 | Switch
356 | 8 Port Switch
357 | On line UPS
358 | Switch
359 | Moniter 17" (CRT) | 17" TFT monitor | 30
360 | Keyboard | Hcl | 30
361 | Mouse | HCl | 30
362 | Hard disk | 160Gb sata | 30
363 | Ram | 2 Gb | 30
LAB Name – CP (IT ) LAB
364 | Computer | HCL Intel G31 | 32
365 | Router
366 | Switch 16 PORT | dIGISOL | 2
367 | 8 Port Switch
368 | On line UPS
369 | Switch
370 | Moniter 17" (CRT) | 17" TFT monitor | 32
371 | Keyboard | Hcl | 32
372 | Mouse | HCl | 32
373 | Hard disk | 40 Gb sata | 32
374 | Ram | 128Mb | 32
LAB Name – OS LAB
375 | Computer | Intel G31 2.4 HZ | 24
376 | Router
377 | Switch 16 PORT | dIGISOL | 2
378 | 8 Port Switch
379 | On line UPS
380 | Switch
381 | Moniter 17" (CRT) | 17" TFT monitor | 32
382 | Keyboard | Samsung | 24
383 | Mouse |  | 24
384 | Hard disk | 160 Gb sata | 24
385 | Ram | 512Mb | 24
Department of Electronics Engineering
DIGITAL ELECTRONICS LAB
386 | Analog to Digital Converter | Adtron-2533 | 1
387 | Digital to Analog Converter | Adtron-2534 | 1
388 | Seven Segment Decoder Trainer | Adtron-2325 | 1
389 | De-Morgan’s Theorems Trainer | Adtron | 1
390 | Logic Training Board | LTB-804 | 1
391 | Half/Full Adder/Substractor | FT-1104 | 1
392 | 4-Bit Decade Counter Trainer | FT-1133 | 1
393 | 8 to 1 Multiplexer & Demultiplexer | FT-1170 | 1
394 | 4-Bit Magnitude Comparator | FT-1151 | 1
395 | Digital IC trainer | LTB-817 | 1
396 | Schmitt trigger trainer | FT-1910 | 1
397 | Binary To Decimal Decoder | FT-7442 | 1
398 | Astable Multivibrator | ETB-26 | 1
399 | Bistable Multivibrator | ETB-27 | 1
400 | Monostable Multivibrator | ETB-28 | 1
401 | Shift Registers & Ring Counter | LTB-828 | 1
402 | Digital Ic Function Tester | 4027 | 1
403 | Characteristics of CMOS Ic | LTB-866 | 1
404 | Differential comparator Ic-710 | ETB-89 | 1
405 | TLL-CMOS Interface | FT-1150 | 1
406 | Flip Flop | LTB-826 | 1
407 | BCD to Hexadecimal Decoder | FT 1162 | 1
408 | General Purpose Digital IC Trainer | FT1005 | 1
409 | Digital IC demonstrator | FT 1001 | 1
410 | TTL CMOS Interface | LTB 865 | 1
411 | Differential Comparator | IC 710 | 1
412 | Voltage Stabiliser | VSI | 1
413 | Regulated Power Supply +-15 V/ 2A | 05D2 | 1
414 | Regulated Power Supply +-15 V/ 2A | 15D2 | 1
415 | Regulated Power Supply | LQ 6324 | 1
416 | Function Signal Generator | 59 | 1
417 | Function Generator | FG1M | 2
418 | 20 MHz Dual Trace CRO | 3305 | 2
419 | Encoder and Decoder kit | ME 718 | 1
420 | Full Adder & Subtractor | ME 701 | 1
421 | Multiplexer Demultiplexer 16:1 | ME 720 | 1
422 | IC 555 Kit | ME 650 | 1
423 | Flip Flops using NAND gate | ME 702 | 1
424 | Schmitt Trigger | ME 633 | 1
425 | Binary to decimal Encoder | LTB 814 | 1
EMI LAB
426 | Speed control of DC motor trainer | DCS01 | 1
427 | Characteristics of solar cell | ME529 | 1
428 | Earth tester(earth resistance tester with components) | EMI/023 | 1
429 | Load cell Trainer kit | ME1051 | 1
430 | Ultra Sonic Digital distance meter | ICT911 | 1
431 | maxwell bridge | ME2204E | 1
432 | anderson bridge | ME2200E | 1
433 | LVDT traner kit | ME1052 | 1
434 | Spectrum analyzer | SA-3011 | 1
435 | Temperature measurement trainer using RTD | ME1053 | 1
436 | Temperature Transducer Trainer | ME1063 | 1
437 | Auto compute LCRQ meter | 4910 | 1
438 | Digital LDR | EMI/015 | 1
439 | Capacitance Bridge | ETB 135 | 1
440 | Measurement of distance by capacitative transducer | ME 1058 | 1
441 | Measurement of distance by inductive transducer | ME 1057 | 1
442 | LCQR Meter | SM 5118 | 1
443 | Digital Inductive Pickup | EMI/013 | 1
444 | Digital Capacitive Pickup | EMI/014 | 1
445 | Characteristics of Solar Cell | ES-290 | 1
446 | 550 MHz Frequency Counter | 1130 | 1
447 | VSI Servo Controlled Voltage Stabilizer | EMI/024 | 1
448 | Earth Tester | 13802(67888) | 1
449 | Load Cell Demonstrator | ICT 903 | 1
450 | Power Supply | AD01 | 1
451 | Maxwell Capacitance Bridge | AB 11 | 1
452 | Maxwell Inductance Bridge | AB-59 | 1
453 | Anderson Bridge | AB-58 | 1
454 | Temperature Transducer Trainer | ST 2302 | 1
455 | LVDT Trainer | ST 2303 | 1
456 | Light Measurement using Photocell | EC/EMI/008 | 1
200105316631
457 | 20 MHz Function Generator | 2219-U | 1
458 | Portable single phase watt meter SPW1 | 1772/01 | 1
459 | Portable single phase meter | 551/01 | 1
460 | Digital Tachometer | HTM-590 | 2
461 | A.C. Meter | 986 | 1
462 | 20 MHz Dual Trace C.R.O. | 3305C | 1
463 | 30 MHz Dual C.R.O. | 3706-C | 1
464 | 1 MHz Function Generator | FG1M | 1
VLSI LAB
465 | CPLD Proto board With Device XC9572 PC 84 ON Board | MXCK-084 | 5
466 | Spartan-III Proto board With on Board Device XC3S400 | PQ208C | 5
467 | Lay Out-editor Software | XILINX ISE | 1
468 | CPLD/FPGA Digital Design Kit | FPT-1 | 4
469 | Series USB Port equipment |  | 1
470 | Scientech Fiber Optics Trainer | ST 2502 | 1
471 | Laser Fiber Optic Trainer | LT 2506 | 1
MICROPROCESSOR LAB
472 | ET 8085 Microprocessor Kit | EXCEL | 10
473 | ET 8086 LCD | Excel | 10
474 | PC Keyboard Acer | SDK 3500 | 3
475 | Power Supply for 8085 | EXCEL | 10
476 | SMPS | Dynamics | 5
477 | 8051 IC Exel Kit | EXcel | 1
478 | Power Supply for 8085 | Dynalog | 6
479 | MicroAssembler( 1 line) | Micronics | 1
480 | Advanced Assembler (1 line) | Micronics | 1
481 | Battery Bank for RAM | Micronics | 1
482 | Study Card 8155 | Micronics | 1
483 | Study Card 8251 | Micronics | 1
484 | Study Card 8212 | Micronics | 1
485 | Study Card 8253 | Micronics | 1
486 | Study Card 8255 | Micronics | 1
487 | Study Card 8257 | Micronics | 1
488 | Study Card 8259 | Micronics | 1
489 | Study Card 8279 | Micronics | 1
490 | Traffic Light Controller | Micronics | 1
491 | Scanning Tec. Seven Segment Display | Micronics | 1
492 | A-D Converter Module | Micronics | 1
493 | D-A Converter Module | Micronics | 1
494 | 8085 Mp Kit LED display wihin built power supply | VMC 8501 | 10
MICROCONTROLLER LAB
495 | Education Practice Board For 89V51RD2 | Edutech | 10
496 | LCD Matrix Keyboard Interfacing Kit | Edutech | 1
497 | 8Bit Parallel ADC Interfacing Kit | Edutech | 1
498 | 8Bit Parallel DAC Interfacing Kit | Edutech | 1
499 | Stepper Motor Interfacing Kit | Edutech | 1
500 | Hardware lock USB Type | Edutech | 1
501 | 8051 1 DE | Edutech | 1CD
502 | 8051 Digital Worksheets | Edutech | 1CD
503 | 8051 Basic Tutor | Edutech | 1CD
504 | LED Interface Kit | Edutech | 1
505 | Traffic Light Interface Kit | Edutech | 1
DSP LAB
506 | TMS-320 C6713 DSP Trainer kit | VSK-6713 | 10
507 | ASSM 9 To 9 Cable |  | 10
508 | Speaker 400W |  | 10
509 | PC Power Chard |  | 10
510 | ASSM SP-7 Patch Chard |  | 40
511 | Manual VSK-6713, (USER) |  | 10
512 | Manual VSK-6713, (TECH.) |  | 10
513 | CD-R |  | 10
514 | Microphone AUD-59XLR |  | 10
515 | MAT.LAB (7.10)Software |  | 1
ADV.COMM. LAB
516 | CDMA Trainer kit Make-Scientech | ST-2117 | 1
517 | CDMA DSSS Modulation & Demodulation Kit Made-Scientech | ST-2131 | 1
518 | Minimum Shift Keying Techniques Trainer kit Make- Scientech | ST-2116 | 1
519 | GSM Trainer kit Make-Scientech | ST-2133 | 1
520 | 16 Channel Logic Analyzer Using With CDMA Trainer Kit | PLA-1016 | 1
521 | 20 MHz Dual Trace CRO |  | 4
522 | 2 Mhz Function Generator |  | 3
523 | Voice Communication using DSSS | ST-2131 A | 1
EDC LAB (I, II, III)
524 | Study CB, CC, CE, Amplifier | ETB-115 | 1
525 | 2 Stage R.C. Coupled Amplifier | FT-1804 | 1
526 | Clipper | AB-88 | 1
527 | Clamper | AB-89 | 1
528 | Characteristics of Field effect transistor (FET) | Adtrin | 1
529 | Transistor Audio Amplifier | ETB-22 | 1
530 | Half wave rectifier | BREAD BOARD | 1
531 | Emitter Follower | ETB-21 | 1
532 | HARTLEY OSCILLATOR | ME-661 | 1
533 | PHASE SHIFT OSCILLATOR | ME-664 | 1
534 | Transistor PUSH PULL Amplifier | ME-620 | 1
535 | Emitter Follower transistor | ME-614 | 1
536 | DC REGULATED POWER SUPPLY TRAINER | ME-569D | 1
537 | FET Characteristics APPARATUS WITH DIGITAL PANEL | ME-535D | 1
538 | Clipper AND Clamper CKT | ME-576 | 1
539 | 2 Stage R.C. Coupled Amplifier | ME-619 | 1
540 | CLASS A,B,AB -PUSH PULL Amplifier | ME-622 | 1
541 | FEED BACK Amplifier SERIES AND SHUNT | ME-641 | 1
542 | COLPITT OSCILLATOR | ME-662 | 1
543 | WEINS BRIDGE OSCILLATOR USING transistor | ME-665A | 1
544 | FET COMMON SOURCE Amplifier | ME-613 | 1
545 | Audio POWER Amplifier USING BJT | ME-649 | 1
546 | UJT Characteristics | ME-547BD | 1
547 | MOSFET Characteristics | ME-548D | 1
548 | POWER SUPLY | SCIENTECH | 4
549 | BJT KIT | AB-02,07,04 | 3
550 | DIODE Characteristics | AB-01 | 1
551 | DECADE RESISTANCE BOX | OMGA | 3
552 | CRO | APLAB | 12
553 | AC MILI VOLT METER | AB LAB | 6
ELECTRONICS WORKSHOP LAB
554 | PCB Entching Machine | ELECTRONICS | 1
555 | PCB Drilling Machine | ELECTRONICS | 1
556 | Analog Cum Digital IC Tester | VPL-DICT | 1
557 | Transformer Winding Machine | 162-C | 1
558 | STEREO TAPE RECORDER TRAINER KIT | ME- 1205 | 1
559 | CRO Demostration Kit | 3304TM | 1
560 | Opto-Electronic devices Characteristics | ETB-117 | 1
561 | Colour T.V. Trainer Kit | ST-2651 | 1
562 | V.C.D. Player Trainer kit | ST-2662 | 1
563 | REGULATED POWER SUPPLY | 34-B,92-B, | 15
564 | INDUTANCE BOX | FT-1342 | 2
565 | CRO | APLAB | 11
566 | FUNCTION GENERATOR | APLAB | 6
567 | BREAD BOARD | ELECTRONICS | 5
568 | Tape Recorder Kit | DB15 | 1
569 | PCB CUTTER | ELECTRONICS | 1
570 | E-PROM ERASER | MICRONICS | 2
571 | STEREO TAPE RECORDER TRAINER KIT | ME- 1205 | 1
572 | PCB Designed Tool Single User |  | 1
573 | Tina Pro Software For single user with hardware Lock |  | 1
ELECTRONIC ENGG.DESIGNN LAB
574 | Component development system | FT-1305 | 5
575 | Component development system | FT-1305 | 5
576 | Component Organiser | ACO-25 | 3
577 | Regulated DC power supply | L-3201 | 3
578 | Diode tester | CT-152 | 1
579 | Zener diode tester | CT-153 | 1
580 | Transistor tester | CT-155 | 1
581 | CRO 20MHZ | 3304TM | 8
582 | cro 20MHZ | 3304TM | 2
583 | digital multimeter | mastech | 6
584 | Component development system |  | 5
COMMUNICATION LAB
585 | Amplitude Modulation & Demodulation | ETB-96 | 1
586 | Frequency Modulation & Demodulation | ETB-98 | 1
587 | PAM Modulation & Demodulation | FT-1503 | 1
588 | Pulse width Modulation Trainer | FT-1553 | 1
589 | Pulse position Modulation PPM Trainer | FT-1554 | 1
590 | Transmission line Trainer | ST-2266 | 1
591 | Pulse code Modulation & Demodulation Tran.&receiver | ST-2153 | 1
592 | DSB/SSB transmitter kit | EL-3461 | 1
593 | DSB/SSB receiver kit | ST-2202 | 1
594 | Super hetero Dyne AM Reciever Demo. kit | 1002 | 1
595 | AGC Amplitude response | 1002 | 1
596 | AM -FM Generator | 2029 | 1
597 | Sampling Trainer | EL/6394 | 1
598 | PSK MODULATION AND DEMODULATION | EL-492 | 1
599 | FSK MODULATION AND DEMODULATION |  | 1
600 | ASK MODULATION AND DEMODULATION | EL-299 | 1
601 | DELTA ADAPTIVE DELTA, MODULATION AND DEMODULATION | ST-2107 | 1
602 | CARRIER DEMODULATOR AND REFOMATING RECEIVER TRAINER | EL-6394 | 1
603 | ANALOG TDM TRAINER | EL-38 | 1
604 | ANALOG SIGNAL AND RECONSTRUCTION | EL-5181 | 1
605 | TDM,PCM TRANSMITTER TRAINER | EL-6394 | 1
606 | TDM, PCM RECEIVER TRAINER | EL-6394 | 1
607 | DATA FORMATTING AND CARRIER MODULATION TRANSMITTER TRAINER | EL-6394 | 1
608 | DISPLAY BOARD ON CABLES | EL-3629 | 1
609 | DISPLAY BOARD ON CONNECTORS | EL-3629 | 1
610 | AGC AMPLITUDE RESPONSE | 1002 | 1
611 | SPECRUM ANALYZER | 45 | 1
612 | ANALOG & DIGITAL I.C TESTER | 1 | 1
613 | TRANSISTOR RADIO DEMOSTRATION 3 BAND SILICON TRANSISTOR WITH POWER SUPLY | OE/3179/02-03 | 1
614 | SERVO STABLIZER | EL/2431 | 1
615 | FUNCTION GENERATOR | 22351034 | 1
616 | SIGNAL GENERATOR | 21142048 | 1
617 | AM/FM GENERATOR | 22351034 | 1
618 | 2 MHZ FUNCTION GENERATOR | FG2MD | 1
619 | SINE/SQUARE GENERATOR | 22351035 | 1
620 | 550 MHZ UNIVERSAL FREQUENCY COUNTER | 22351034 | 1
621 | DUAL TRACE CRO | 21142048 | 2
622 | 100 MHZ CRO | 22361012 | 1
623 | 20 MHZ DUAL CHANNEL 4 TRACE CRO | 22361018 | 4
624 | REGULATED POWER SUPPLY | LQ6324 | 1
625 | A.C MILLIVOLTMETER 5002 | 22351035 | 2
626 | SCIENTIFIC SUPPLIERS(PPM) | TSS/JP/126 | 1
627 | SCIENTIFIC SUPPLIERS(AM) | TSS/JP/126 | 1
628 | SCIENTIFIC SUPPLIERS(FM) | TSS/JP/126 | 1
629 | SCIENTIFIC SUPPLIERS(PSK) | TSS/JP/132 | 1
630 | SCIENTIFIC SUPPLIERS(FSK) | TSS-132 | 1
631 | SCIENTIFIC SUPPLIERS(AM) | TSS-132 | 1
632 | TDM-PCM TRAINER | ST-2153 | 1
633 | TDM-PCM TRAINER KIT RECEIVER | ST-2154 | 1
634 | DATA FORMATTING SCHEMES | MODE-2156 | 1
635 | DEMODULATION AND DATA FORMATTING | 2157 | 1
636 | MSK MODULATION & DEMODULATION TRAINER | ST-2116 | 2
Signal Processing Lab
637 | Simulation in MATLAB Environment: | HCL Intel ® 550@3.20GHZ | 20
638 | Generation of continuous and discrete elementary signals | HCL Intel ® 550@3.20GHZ | 20
639 | Generation of Continuous and Discrete Unit Step Signal | HCL Intel ® 550@3.20GHZ | 20
640 | Generation of Exponential and Ramp signals in Continuous & Discrete domain. | HCL Intel ® 550@3.20GHZ | 20
641 | Continuous and discrete time Convolution | HCL Intel ® 550@3.20GHZ | 20
642 | Adding and subtracting two given signals. | HCL Intel ® 550@3.20GHZ | 20
643 | To generate uniform random numbers between (0, 1). | HCL Intel ® 550@3.20GHZ | 20
644 | To generate a random binary wave | HCL Intel ® 550@3.20GHZ | 20
645 | To generate random sequences with arbitrary distributions, means and variances for following : Rayleigh, Normal, Gaussian Distribution | HCL Intel ® 550@3.20GHZ | 20
646 | To plot the probability density functions. Find mean and variance for the above distributions | HCL Intel ® 550@3.20GHZ | 20
Wireless Lab
647 | Antenna Trainer Kit | 2261A | 1
648 | Antenna Trainer Kit |  | 1
649 | Antenna Trainer Kit |  | 1
650 | Antenna Trainer Kit |  | 1
651 | Antenna Trainer Kit |  | 1
652 | NVIS Radar Trainer Kit | NV 2001 | 1
653 | VPL CDMA Trainer Kit | VPL2131L | 1
654 | Satellite Trainer Kit |  | 1
655 | VPL GPS Trainer Kit | VPL GPST | 1
656 | HFSS software | Software V.14 | 1
E.E.E. LAB (I Year)
657 | 1 Mhz Function Generator (Aplab) | FG1M | 1
658 | 20 Mhz Dual Trace Oscilloscope (Aplab) | 3305 -S | 1
659 | PN Junction Diode Characteristic Apparatus | AT 306 | 1
660 | Transistor Characteristic Appratus | AT 303 | 1
661 | Verification of KCL & KVL Apparatus | AT 326 | 1
662 | Verification of Network Theorems Apparatus | AT 400 | 1
663 | D.C. Regulated Power Supply (6V-9V-12V) |  | 2
664 | Digital Multimeter Dynalog | DX 6130 | 1
665 | Digital Multimeter Mastech | M92A | 4
666 | Digital Multimeter Mastech | MAS 830L | 3
667 | Function Generator 10 Khz | FG321 | 1
668 | Analog Multimeter Sanwa | YX 360TA | 1
669 | Analog Multimeter Sanwa |  | 3
Department of Electrical Engineering
PE LAB
670 | Buck boost converter | N/A | 1
671 | MOSFET chopper | N/A | 1
672 | Zero voltage switching | N/A | 1
673 | D.C.circuit breaker | N/A | 1
674 | Single phase A.C.voltage regulator | N/A | 1
675 | Single phase dual converter | N/A | 1
676 | Class A (one) chopper without motor | N/A | 1
677 | Class C (two) chopper without motor | N/A | 1
678 | Class E (four) chopper without motor | N/A | 1
679 | Class A (one) chopper with motor | N/A | 1
680 | Class C (two) chopper with motor | N/A | 1
681 | Class E (four) chopper with motor | N/A | 1
682 | Single phase cycloconverter | N/A | 1
683 | Solder wire | N/A | 1
684 | Screw driver | Taparia 5-set 812 | 1
685 | Combination plier | Taparia with joint cutter | 1
686 | Firing circuit using ramp comparator scheme | Omega type PET-423 | 1
687 | Oscillator | Scientech 20 MHz ST 201 | 1
688 | Current communicated thyristor chopper | OMEGA type PET-431 | 1
689 | Silicon controlled rectifier | OMEGA typeETB-55 | 1
690 | Study of inverting & non inverting op amp | OMEGA type ETB-155 | 1
691 | Diac characteristics | OMEGA type ETB-66 | 1
692 | Effect of freewheeling diode 1-phase fully controlled converter | OMEGA PET-432 | 1
693 | Automatic voltage stabilizer dynamic demous cum trainer | OMEGA DB-19 | 1
694 | Voltage commutated thyristor chopper | OmEGA PET-430 | 1
695 | Firing circuit using cosine wave scheme | OMEGA PET-425 | 1
696 | Triggering ckt for SCR | OMEGA PET-417 | 1
697 | Function generator | Aplab 1 MHz F41M | 1
698 | Forced commutated circuits | OMEGA PET-429 | 1
699 | SCR Parallel Inverter | PET-427 | 1
700 | Single phase half controlled symmetry and asym bridge converter | PET-419 | 1
701 | Single phase full controlled bridge converter | PET-414 | 1
702 | dv/dt limitation of scr | PET -403 | 1
703 | single phase half wave controlled converter | PET-418 | 1
704 | Speed control of D.C. motor | Future Tech | 1
705 | A.C. regulator using triac and parallel thyristor triac & diac | PET-421 | 1
706 | OP ampli. | ETB-152 | 1
707 | Single phase series inverter | PET-426 | 1
708 | Speed controller of D.C. motor | Future Tech | 1
709 | Three phase thyristor bridge converter and its triggering ckt | PET-442 | 1
710 | Single phase PWM inverter | HEM Electronics M.I.D.C. MIRAJ | 1
711 | Firing ckt using op amp and gates | PET-424 | 1
Electrical Drives Control Lab
712 | Single phase dual converter | N/A | 1
713 | 3 phase induction motor vari freq v/f constant | N/A | 1
714 | 3 ph induction motor variable stator voltage | N/A | 1
715 | 3 ph half ctrl bridge converter | N/A | 1
716 | 3 ph full ctrl bridge converter | N/A | 1
717 | 1 ph universal motor ctrl | N/A | 1
718 | 3 ph AC voltage regulator | N/A | 1
719 | 3 ph half ctrl bridge converter | N/A | 1
720 | 3 ph half/full ctrl bridge converter | N/A | 1
721 | 3 ph cyclo converter | N/A | 1
722 | 3 ph dual converter | N/A | 1
723 | 3 ph dual converter | N/A | 1
724 | 3 ph induction motor vari freq using 3 ph inverter(motor drive) | N/A | 1
725 | 3 ph half/full ctrl bridge converter(motor drive) | N/A | 1
726 | reversible sync motor | N/A | 1
727 | 3 ph ind motor vari stat voltage for AC regu(motor drive) | N/A | 1
728 | Load 3 ph half | N/A | 1
729 | Load 3 ph full | N/A | 1
730 | 3 ph dual converter motor shunt | N/A | 1
731 | CRO | Aplab3803 | 1
732 | Techometer | DT2234C(S016783) | 1
733 | Techometer | DT2235B(S047359) | 1
734 | Techometer | HTM590(12-527) | 1
735 | Motor coupling | 12041018 | 2
736 | 3 ph IM variable freq using inverter | N/A | 1
EMI LAB
737 | HEADPHONE | px-cl-R-1940 | 2
738 | inverter | kissan | 1
739 | instrument amplifier | ETP-218-s.no 93588 | 1
740 | constant voltage source(2volt/100micro amp) | N/A | 2
741 | voltage ratio Box | cat-30151c s. no- 04149 | 1
742 | voltage ratio Box | catno- 3015c1. s. no- 04129 | 1
743 | d'sautya bridge | Cat No. - 320513 s. no- 04125 | 1
744 | voltmeter | PMMC type | 1
745 | op-amp used as scalar summer and voltage follower | ETB -215 | 1
746 | kelnvin bridge | toshniwal industry s.no 03ph3973, Cat no- PL 39 | 1
747 | andersons bridge | MARS EDPAL instruments pvt ltd | 1
748 | D sauty bridge | MARS EDPAL instruments pvt ltd | 1
749 | weins bridge | MARS EDPAL instruments pvt ltd | 1
750 | single phase energy meter with phantom loading | MARS EDPAL instruments pvt ltd | 1
751 | phase shifting arrangement | MARS EDPAL instruments pvt ltd | 1
752 | auto transformer 4a, single phase | MARS EDPAL instruments pvt ltd | 1
753 | auto transformer 15, amp single phase | N/A | 1
754 | Rheostate 10 ohm/ 10 amp | N/A | 1
755 | digital earth tester with testing kit | MARS EDPAL instruments pvt ltd | 1
756 | crompton potentiometer | MARS EDPAL instruments pvt ltd | 1
757 | gelvenometer 0-30 sensitivity | MARS EDPAL instruments pvt ltd | 1
758 | calibration of voltmeter and ammeter by DC modal | MARS EDPAL instruments pvt ltd | 1
759 | dc voltmeter (0-10 volt) | N/A | 1
760 | voltage ratio box dc slide wire potentiometer | N/A | 1
761 | measurement of power in 3 phase circuit by two wattmeter method | N/A | 1
762 | auto transformer 3 phase 2 amp | N/A | 1
763 | loading rheostate 1.5 kw, 3 phase each phase of 0.5 w in 4 steps | N/A | 1
764 | digital insulation tester | N/A | 1
765 | auto ranging digital clamp meter | N/A | 1
766 | 30 mhz dual trace oscilloscope | N/A | 1
767 | linear syatem simulator | N/A | 1
768 | compensator trainer | N/A | 1
769 | ac servometer torque / speed characterstics trainer | N/A | 1
770 | ac potentiometer error detector | N/A | 1
771 | second order network | N/A | 1
772 | socket - 6 mp(29* 6) | N/A | 1
773 | tape | N/A | 3
774 | screw driver | N/A | 1
MACHINE LAB
775 | Loading reheostate | associate scientific coperation | 2
776 | transformer 1-ph with tapping | associate scientific coperation | 7
777 | control panel for o.c and s.c test | NA | 1
778 | Control panel for Sumpners back to back test | NA | 1
779 | control pannel for parallel operation of 1 phase transformer | NA | 1
780 | speed control of d.c shunt motor undera load and load condition | NA | 1
781 | d.c motor 3hp horizontal motor | NA | 1
782 | arrangement 7 basic pully loads on motor | NA | 1
783 | speed control of d.c motor by ward leonard method | NA | 1
784 | digital r.p.m induction motor with sensor | NA | 1
785 | to plot load vs effienciy curve for a shunt motor | NA | 1
786 | hopkinsions test on d.c machine | NA | 1
787 | scr d.c drive | NA | 1
788 | cut transformer working model d.c motor | NA | 1
789 | obtain internal and external cher of d.c series motor | NA | 1
790 | digital r.p.m indicator with sensor | NA | 6
791 | wattemeter electro dynameter make | NA | 1
792 | reostat vitereous enamel | NA | 6
793 | screw driver | NA | 2
794 | tachometer | NA | 1
795 | Control panel for scot connection | NA | 1
796 | control panel for separation of T/F CORE LOSS | NA | 1
797 | control panel for o.c and s.c test for t/f | NA | 1
798 | conrol panel for T/F parallel operation | NA | 1
799 | control paneel for various connection of 3 phase T/F | NA | 1
800 | Control panel for scot connection | NA | 1
801 | control panel for v-curve | NA | 1
802 | control panel for synchoronisation of 3 phase alternator | NA | 1
803 | rotary converter | NA | 1
804 | mg set | NA | 1
805 | mg set | NA | 1
806 | auto t/f | NA | 1
807 | t/f 3kva | NA | 1
808 | Loading reheostate 3 phase |  | 1
809 | induction load | NA | 1
810 | capacitive load 3 phaSe | NA | 1
811 | wattemeter | NA | 1
812 | Rheostat |  | 1
813 | power tactor | NA | 1
814 | meter tachometer |  | 1
815 | no load and blocked test 3 phase induction motor | NA | 1
816 | To perform load test on 3 Phase induction | NA | 1
817 | mesurment of direct axis (xd) and quadrature axis (xe) of synchronous M/C | NA | 1
818 | load test 3 phase altenator phase field its regulator | NA | 1
819 | regulation of 3 phase alternator by zpf | NA | 1
820 | 3 phase a.c motor with belt set | NA | 1
821 | 5 h.p ac.c 3 phase motor with belt | NA | 1
822 | motor couplling (3kw altenator + 5hp shut motor) | NA | 1
823 | motor couplling (1.5kw altenator + 3hp d.c motor) | NA | 1
824 | motor couplling (5 h.p d.c motor + 3kv ac generator) | NA | 1
825 | watt meter 3p/2E UPF | NA | 1
826 | wattmeter 25.5 A/300/600v | NA | 1
PSHEV LAB
827 | panel -buchholz relay , air tank , buchhlz relay | NA | 1
828 | panel negative sequance of T/F | NA | 1
829 | panel for over current relay | NA
830 | panel for c.t test | NA | 1
831 | panel for parcentage bised diferencial relay | NA | 1
832 | panel for negative and zero sequance of alternator | NA | 1
833 | panel for freq. relay | NA | 1
834 | panel for auxilary relay | NA | 1
835 | multimeter lead | NA | 1
836 | meco meter 5A |  | 4
837 | meco meter 1A |  | 1
838 | wattemeter 1 phse digital |  | 1
839 | voltmeter 500v 1 phase |  | 2
840 | AE voltmeter 96 . 96 |  | 2
841 | Ammeter (0-19) |  | 1
842 | kv 80 v meter 230 v |  | 1
843 | bance plug |  | 88
844 | ac ammter (0 -20A) |  | 1
845 | ac ammeter(0 -5A ) |  | 1
846 | av meter ( 0- 100 A) |  | 1
847 | ac w. meter (0 - 2500 w) |  | 1
848 | ac hl meter (45 -55hl) |  | 1
849 | ac v meter digital pannel (0 --500) |  | 1
850 | ac a meter (0 -5A) |  | 6
851 | ac v meter ( 0-500v) |  | 1
852 | dc v meter(0-100V) |  | 1
853 | ac a meter (0 -20v) |  | 1
854 | ac v meter (0 -150v) |  | 1
855 | ac v meter (0 -30v) |  | 2
856 | m.a . Ac meter (0 -500) |  | 1
857 | digital panel meter (0 -500v) |  | 2
858 | psi meter |  | 1
859 | o to tf |  | 1
860 | ameter |  | 1
861 | FUSE |  | 20
Department of Humanities and Social Sciences
ENGLISH LANGUAGE LAB
862 | Computer | HP | 27
863 | Mother Board | Intel | 27
864 | CPU | Intel 2.93GhZ Core2 Due | 27
865 | Moniter 17" (CRT) | HP | 27
866 | Keyboard | HP | 27
867 | Mouse | HP | 27
868 | Hard disk | 160 GB | 27
869 | Ram | 2 GB | 27
870 | 24 Port Switch | D-Links | 1
871 | 24 Port Switch | D-Links | 1
ART & MEDIA LAB
872 | Computer | HP | 4
873 | Mother Board | Intel | 4
874 | CPU | Intel 2.93GhZ Core2 Due | 4
875 | Moniter 17" (CRT) | HP | 4
876 | Keyboard | HP | 4
877 | Mouse | HP | 4
878 | Hard disk | 160 GB | 4
879 | Ram | 2 GB | 4
Department of Mechanical Engineering
Strength of Material & Material Science LAB
880 | Universal Testing Machine | NA | 1
881 | Brinell Hardness Tester | NA | 1
882 | Fatigue Tester | NA | 1
883 | Impact Testing | NA | 1
884 | Beam Deflection Tester | NA | 1
885 | Universal Testing Machine | NA | 1
886 | Microscope | NA | 1
FLUID MECHANICS & MACHINES LAB
887 | Hydraulic Ram | Portable 400KN | 1
888 | Francis Turbine | NA | 1
889 | Pelton Wheel Turbine | NA | 1
890 | Centrifugal Pump | NA | 1
891 | Air Flow Apparatus | NA | 1
892 | Bernoulli’s Apparatus | NA | 1
893 | V-Notch Apparatus | NA | 1
894 | Pipe Friction Apparatus | NA | 1
895 | Meta-Centric Height Appratus | NA | 1
THERMAL ENGINEERING LAB
896 | 2- Stroke Petrol Engine (Prototype) | - | 1
897 | 4- Stroke Petrol Engine (Prototype) | - | 1
898 | Diesel Engine Fuel Supply System | - | 1
899 | 4- Stroke Single Cylinder Diesel Engine Test Rig. | - | 1
900 | Multistage Compressor | TS03 120H | 1
901 | Ambrose Fuel Injection Pump (Prototype) | Ambrose | 1
MACHINE DESIGN LAB
902 | Piston & Piston Ring Setup-(Model) | - | 1
903 | Connecting Road -(Model) | - | 1
904 | Crank Shaft -(Model) | - | 1
905 | Pipe & Pipe Fittings -(Model) | - | 1
906 | Springs -(Model) | - | 1
907 | Screw Jack-(Model) | - | 1
908 | Flexible Coupling -(Model) | - | 1
WORKSHOP & PRODUCTION LAB
909 | Fitting & Carpentry Tools | NA | 14
910 | Foundry Tools | NA | 15
911 | Tapping Tool | NA | 4
912 | Radial Drill Machine | NA | 1
913 | Arc. Welding Transformer | NA | 1
914 | Gas Welding | NA | 1
915 | Shaper Machine | NA | 2
916 | 3 Jaw Speed Lathe | NA | 4
917 | Capstone Lathe | NA | 1
918 | 4 Jaw Chuck Heavy Lathe | NA | 3
919 | Wooden Work Lathe | NA | 1
920 | Gear Head Bench Lathe | NA | 1
921 | Power Hacksaw machine | NA | 1
922 | Milling Machine | NA | 1
923 | Grinding Machine | NA | 1
924 | Tool Grinder | NA | 1
925 | Press Machine | NA | 1
926 | Hydraulic Press Machine | NA | 1
927 | Vertical Drill Machine | NA | 1
928 | Bent Saw Machine | NA | 1
929 | Pipe Threader | NA | 1
INTERNAL COMBUSTION ENGINE - LAB
930 | Single Cylinder 4-Stroke Diesel Engine Test Rig With Electrical Dynamometer | NA | 1
931 | 4-Stroke Petrol Engine Test Rig For Morse Test | NA | 1
932 | Cut Section of 4-Stroke C.I. Engine | NA | 1
933 | Tachometer | NA | 1
934 | Spanner Tool Kit | NA | 1
935 | Model of 4-Cylinder Isuzu Petrol Engine of Contasa Car | Contasa Car | 1
AUTOBOBILE ENGINEERING-LAB
936 | Valve Timing Setup/ 4-cylinder Cam Push Road Mechanism | NA | 1
937 | 4-cylinder Cut section Model of S.I. Engine | NA | 1
938 | 2-Stroke Multi-fuel Scooter Engine model | LMA VESPA | 1
939 | 2- Stroke Petrol engine cut section model (Scooter) | NA | 1
940 | 4- Stroke Petrol engine cut section model (Suzoki-fiero) | Suzoki-fiero | 1
941 | Gear Box Constant Mechanism (Model) | NA | 1
942 | 3-Cylinder Cut Section Model of S.I. Engine | NA | 1
943 | Fiat Car Chasis Model | FIAT | 1
944 | Clutch Setup | NA | 1
DYNAMICS OF MACHINE-LAB
945 | Inversion of Four bar chain mechanism | NA | 1
946 | Set up for Co-Efficient of friction | NA | 1
947 | Quick return mechanism | NA | 1
948 | Whith-worth quick return mechanism | NA | 1
949 | Crank and slotted lever mechanism | NA | 1
950 | Trifler suspension | NA | 1
951 | Gyroscope | NA | 1
952 | Governor | NA | 1
953 | Synchromesh Gear box | NA | 1
954 | Elliptical Trimmer | NA | 1
955 | Brakes,Multiplate Clutch | NA | 1
956 | Bell Crank lever | NA | 1
957 | Journal Bearing Test set up | NA | 1
958 | Planatery Gear box (Epicyclic Gear Box) | NA | 1
959 | Universal Balancing Machine | NA | 1
MECHANICAL VIBRATION -LAB
960 | Whirling of Shaft Apparatus | NA | 1
961 | Vibration Test Rig | SHARP | 1
962 | Wheel Balancing Model | NA | 1
963 | Modal Analysis | NA | 1
HEAT AND MASS TRANSFER-LAB
964 | Stefan Boltzmann apparatus | NA | 1
965 | Emissivity Measurement apparatus | NA | 1
966 | Pin ,Fin ,Forced convection apparatus | NA | 1
967 | Free/Natural convection apparatus | NA | 1
968 | Shell and Tube heat exchanger | NA | 1
969 | Thermal conductivity of Insulation Powder | MARS | 1
COMPUTER AIDED DESIGN-LAB
970 | Computers | ACER | 60
REFRIGRATION & AIR CONDITIONING -LAB
971 | Window A.C Test Rig | EMS | 1
972 | Refrigeration Test Rig | EMS | 1
973 | Model of Refrigeration | NA | 1
974 | Refrigeration cut section | NA | 1
975 | Parallel & Counter Flow in a Double pipe Heat Exchanger | EMS | 1
976 | Air-Conditioning cut section (Window A.C) | NA | 1
977 | Heat Pump | NA | 1
CNC-LAB
978 | CNC XL MILL | MTAB | 1
979 | CNC XL TURN | MTAB | 1
School Of Diploma
CHEMISTRY LAB
980 | Introduce following terms: (a) Glassware (b) Plasticwares (c) Labwares
981 | Introduce following :analysis of Salt :Ammonium Carbonate
982 | Introduce following :analysis of Salt :Aluminium sulphate
983 | Synthesis of Soap from Vegetable oil
984 | Introduce Electroplating
985 | Introduce following :analysis of Salt :Calcium Chloride
986 | Electroplating of Copper over Iron Nail
987 | Introduce following :analysis of Salt :Copper sulphate
988 | Electroplating of Copper in Copper sulphate over Aluminium .
989 | Synthesis of Aluminium Sulphate from Aluminium foil
CP LAB
990 | 945 intel chipset mother board 1.6 GHZ duel core processor 80 Gb HDD 1 GB DDR2 RAM 15" TFT ,key Board,mouse |  | 7
991 | 845 mother board 1.7 processor 40Gb HDD 128MB RAM 15" CRT,key Board,mouse |  | 18
CONCRETE TECHNOLOGY LAB
992 | To determine fineness of cement by 90micron sieve.
993 | To study physical tests on cement
994 | To determine Specific gravity of Cement.
995 | To determine compressive strength of concrete
996 | Compacting Factor tests
997 | To determine fineness modulus of coarse aggregate
998 | To determine fineness modulus of fine
999 | To determine the specific gravity of coarse aggregate by pycnometer method
1000 | To determine the specific gravity of fine aggregate by pycnometer method
1001 | To determine Workability tests on fresh concrete.
PY 171- Physics-I Lab
1002 | To Measure Internal Diameter, External Diameter and Depth of a Calorimeter using Vernier Calliper’s.
1003 | To Measure Density of a Wire using Screw gauge.
1004 | To Measure Radius of Curvature of a Lens, Mirror using Spherometer.
1005 | To Determine Refractive Index of Glass using Prism.
1006 | To Determine the Refractive Index of Glass using Travelling Microscope.
1007 | To Determine Focal Length of a Convex Lens by Displacement Method.
1008 | To Determine the Velocity of Sound at 00C using Resonance Tube.
1009 | To Determine Young’s Modulus of Elasticity using Searle’s Apparatus.
PY 172- Physics-II Lab
1010 | To Determine Acceleration due to Gravity using Simple Pendulum.
1011 | To Verify Newton’s Law of Cooling.
1012 | To Verify Law of Resistances.
1013 | To Determine Specific Resistance of Material using Meter Bridge.
1014 | To Determine Internal Resistance of a Primary Cell using Potentiometer.
1015 | To Compare emf of two Primary Cells using a Potentiometer.
1016 | To Draw Characteristic Curves of PN Diode and Determine its Static and Dynamic Resistance.
1017 | To Draw Characteristic Curves of a PNP/NPN Transistor in CB/CE Configuration.
1018 | To Measure Resistance of a Galvanometer by Half-Deflection Method.
Fluid Mechanics & Machine Lab
1019 | HYDRALIC RAM | Portable 400kn | 1
1020 | FRANCIS TURBINE | NA | 1
1021 | PELTON WHEEL TURBINE | NA | 1
1022 | CENTRIFUGAL PUMP | NA | 1
1023 | AIR FLOW APPRATUS | NA | 1
1024 | BERNOULLI APPRATUS | NA | 1
1025 | V NOTCH APPRATUS | NA | 1
1026 | PIPE FRICTION APPRATUS | NA | 1
1027 | Meta-centric height Setup | NA | 1
Automobile Engg Lab
1028 | 4 T DIESAL ENGINE TEST RIG WITH DYNAMOMETER | NA | 1
1029 | 4 T PETROL ENGINE TEST RIG HYDOLIC DYNAMOMETER | NA | 1
1030 | VALVE TIMING SETUP | NA | 1
1031 | COMPRESOR TEST RIG | NA | 1
1032 | MODEL OF DIESEL FUEL SUPLY | NA | 1
1033 | 2 T PETROL ENGINE MODEL | NA | 1
1034 | 4 T PETROL ENGINE MODEL | NA | 1
1035 | FIAT CAR CHASIS MODEL | NA | 1
1036 | 2 WHEELER CARBURATOR CUT SECTION | NA | 1
1037 | CUTSECTION MODEL OF 4 CYC PETROL ENGINE | NA | 1
1038 | MODEL OF 3 CYC MARUTI CAR ENGINE | NA | 1
1039 | CUT SECTION MODEL OF SCOOTER ENGINE | NA | 1
1040 | CUT SECTION OF GEAR BOX | NA | 1
Motor Vehicle Technology Lab
1041 | 2 T PETROL ENGINE MODEL | NA | 1
1042 | 4 T PETROL ENGINE MODEL | NA | 1
1043 | FIAT CAR CHASIS MODEL | NA | 1
1044 | 2 WHEELER CARBURATOR CUT SECTION | NA | 1
1045 | CUTSECTION MODEL OF 4 CYC PETROL ENGINE | NA | 1
1046 | MODEL OF 3 CYC MARUTI CAR ENGINE | NA | 1
1047 | CUT SECTION MODEL OF SCOOTER ENGINE | NA | 1
1048 | CUT SECTION OF GEAR BOX | NA | 1
Engine Testing Lab
1049 | 2 T PETROL ENGINE MODEL | NA | 1
1050 | 4 T PETROL ENGINE MODEL | NA | 1
1051 | FIAT CAR CHASIS MODEL | NA | 1
1052 | 2 WHEELER CARBURATOR CUT SECTION | NA | 1
1053 | CUTSECTION MODEL OF 4 CYC PETROL ENGINE | NA | 1
1054 | MODEL OF 3 CYC MARUTI CAR ENGINE | NA | 1
1055 | CUT SECTION MODEL OF SCOOTER ENGINE | NA | 1
1056 | CUT SECTION OF GEAR BOX | NA | 1
Workshop Technology & Metrology Lab
1057 | MILLING MACHINE | NA | 1
1058 | POWER HEXA MACHINE | NA | 1
1059 | GRINDING MACHINE | NA | 1
1060 | TOOL GRINDER | NA | 1
1061 | MOISTER TEST | NA | 1
1062 | SUNSINE RECORDER | NA | 1
1063 | GEAR HEAD BEANCH LATHE | NA | 1
1064 | WOODEN WORK LATHE | NA | 1
1065 | 4 JAW CHUCK HEAVY LATHES 2 | NA | 1
1066 | CAPSTON LATHE | NA | 1
1067 | FOUNDRY SHOP TOOLS | NA | 1
1068 | HORIZONTAL DRILL MACHINE | NA | 1
1069 | PIPE TREADER | NA | 1
Machine Design & CAD Lab
1070 | DRAWING BOARD STAND | NR | 30
1071 | COMPUTER INSTALLED AUTOCAD SOFTWARE | 2011 | 30
ENGLISH LAB
1072 | Intel G-31,2.93 GHz,160 GB,2 GB,TFT 17",I lotes/SRS |  | 25
1073 | Intel G-31,2.93 GHz,80 GB,2 GB,TFT 17",I lotes/SRS |  | 2
MACHINE LAB (IV)
1074 | Study of constructional features of D.C. machine and identify the terminals of D.C. shunt generator.
1075 | Determination of O.C.C of D.C. shunt generator | GV/M.LAB-I/81/2009/EE | 1
1076 | Determination of external characteristics of D.C. shunt generator. | GV/M.LAB-I/83/2009/EE | 1
1077 | Determination of external characteristics of compound generator | GV/M.LAB-I/94/2009/EE | 1
1078 | Study of constructional features of D.C. shunt and compound motor starter and connecting, starting and reversing the direction of D.C. shunt motor. | GV/M.LAB-I/93/2009/EE | 1
1079 | Performing Swineburne's test on a D.C. machine | GV/M.LAB-I/87/2009/EE | 1
1080 | Performing Hopkinson's test on a D.C. machine. | GV/M.LAB-I/85/2009/EE | 1
1081 | Speed control of D.C. shunt motor by rheostat control (both field and armature control) | GV/M.LAB-I/91/2009/EE | 1
1082 | Study of constructional features of single phase and three phase transformers |  | 1
1083 | Determination of transformation ratio, regulation and efficiency of a single-phase transformer by direct loading. | GV/M.LAB-I/64/2009/EE | 1
1084 | Open circuit and short circuit test of a single-phase transformer and determination of its equivalent circuit parameters, efficiency and regulation. | GV/M.LAB-I/73/2009/EE | 1
1085 | Parallel operation of single-phase transformers with same voltage ratio and sharing of loads. | GV/M.LAB-I/72/2009/EE | 1
Strength of material lab
1086 | UNIVERSAL TESTING MACHINE | Portable 400kn | 1
1087 | HARDNESS TESTER | NA | 1
1088 | FATIQE TEST MACHINE | NA | 1
1089 | IMPECT TESTER | NA | 1
1090 | BEAM DEFLECTION TESTER | NA | 1
1091 | 4 T DIESAL ENGINE TEST RIG WITH DYNAMOMETER | NA | 1
1092 | 4 T PETROL ENGINE TEST RIG HYDOLIC DYNAMOMETER | NA | 1
1093 | VALVE TIMING SETUP | NA | 1
1094 | COMPRESOR TEST RIG | NA | 1
1095 | MODEL OF DIESEL FUEL SUPLY | NA | 1
1096 | 2 T PETROL ENGINE MODEL | NA | 1
1097 | 4 T PETROL ENGINE MODEL | NA | 1
1098 | FIAT CAR CHASIS MODEL | NA | 1
1099 | 2 WHEELER CARBURATOR CUT SECTION | NA | 1
1100 | CUTSECTION MODEL OF 4 CYC PETROL ENGINE | NA | 1
1101 | MODEL OF 3 CYC MARUTI CAR ENGINE | NA | 1
1102 | CUT SECTION MODEL OF SCOOTER ENGINE | NA | 1
1103 | CUT SECTION OF GEAR BOX | NA | 1
Engineering material and process
1104 | POWER MICROSCOPE | POWER TYPE | 1
1105 | MODEL OF CRYSTAL STRUCTURE | BCC ,FCC, SCC | 1 EACH
1106 | OXY ACETELINE WELDING SETUP | CYLINDER | 1 SET
1107 | ARC WELDING SETUP | 120 V | 1
1108 | FURNANCE | GAS TYPE | 1
1109 | FOUNDRY TOOL | ALL | 1 SET
Engineering drawing lab
1110 | DRAWING BOARD STAND | NR | 30
PY 171- Physics-I Lab
1111 | Vernier Calliper’s. | Nil | 4
1112 | Screw gauge. | Nil | 4
1113 | Spherometer. | Nil | 4
1114 | Prism. | Nil | 6
1115 | Travelling Microscope. | Nil | 1
1116 | Displacement Method. | Nil | 1
1117 | Resonance Tube. | Nil | 1
1118 | Searle’s Apparatus. | Nil | 1
PY 172- Physics-II Lab
1119 | Simple Pendulum | Nil | Nil
1120 | Newton’s Law of Cooling | Nil | Nil
1121 | To Verify Law of Resistances | Nil | Nil
1122 | Meter Bridge | Nil | 1
1123 | Potentiometer | Nil | Nil
1124 | 4 Wire Potentiometer | Nil | Nil
1125 | Characteristic Curves of PN Diode | Nil | Nil
1126 | PNP Transistor | 58 | 1
1127 | Half-Deflection Method | Nil | Nil
School of Hotel Management
Computer lab hmct dept. II Floor
1128 | FAN |  | 4
1129 | TUBELIGHT |  | 1
1130 | monitor |  | 15
1131 | cpu |  | 15
1132 | mouse |  | 14
1133 | key bord |  | 14
ADVANCE TRAINEE KITCHEN
1134 | GAS BURNER FOUR SET WITH ALTO SHYAM |  | 13
1135 | CHINES WOAK TWO BURNER |  | 1
1136 | WORKNG TABLE |  | 17
1137 | FOUR DOOR FRIDGE |  | 1
1138 | UTENSIL TABLE 5 RACK |  | 2
1139 | SINK |  | 8
1140 | FOOD DISPLAY TABLE |  | 1
1141 | THREE SINK SET (POT WASH) |  | 1
1142 | GEAZER ELECTRIC FOR WATER |  | 1
1143 | SALAMENDER |  | 1
1144 | SANDWITCH GRILLER |  | 1
1145 | white board |  | 1
FOOD AND BEVERAGE SERVICE LAB
1146 | ASH TRAY |  | 2
1147 | AP SPOON |  | 33
1148 | AP KNIFE |  | 51
1149 | AP FORK |  | 20
1150 | AP FORK DESIGEN |  | 1
1151 | AMERICAN TRAY |  | 1
1152 | BREAD AND BUTTER PLATE |  | 19
1153 | BREAD BASKET |  | 4
1154 | BUTTER DISH |  | 12
1155 | BUD VASE |  | 2
1156 | BUTTER KNIFE |  | 18
1157 | BAR STOOL |  | 3
1158 | BAR COUNTER |  | 1
1159 | BREAD TONG |  | 1
1160 | BUCKET |  | 3
1161 | COFFEE POT |  | 3
1162 | CHAIR |  | 48
1163 | COCKTAIL SHAKER |  | 3
1164 | CONTINATAL TRAY |  | 1
1165 | CHEF & DISH |  | 4
1166 | DECANDER SMALL |  | 2
1167 | ENTRÉE DISH ONE PORTION |  | 3
1168 | ENTRÉE DISH TWO PORTION |  | 2
1169 | EGG CUP |  | 18
1170 | ENTRÉE DISH ROUND |  | 3
1171 | FULL PLATE (DEEP) |  | 20
1172 | FULL PLATE |  | 40
1173 | FISH KNIFE |  | 7
1174 | FISH FORK |  | 3
1175 | FINGER BOWL |  | 10
1176 | HALF PLATE |  | 31
1177 | HANDHI |  | 8
1178 | ICE BUCKET |  | 3
1179 | JUMBO FULL PLATE |  | 12
1180 | KADHAI |  | 3
1181 | LINEN BOX |  | 1
1182 | MILK POT |  | 5
1183 | MONKEY BOWL |  | 50
1184 | MENU STAND |  | 1
1185 | MEASURING CUP |  | 1
1186 | PLATTER |  | 15
1187 | PASRY TONG |  | 1
1188 | PASTA PLATE |  | 16
1189 | PAG MEASURE |  | 1
1190 | ROOM SERVICE TROLLY |  | 1
1191 | SAUCER |  | 39
1192 | SOUP PLATE SMALL |  | 6
1193 | SERVICE SPOON |  | 7
1194 | SERVICE FORK |  | 13
1195 | SOUP SPOON |  | 39
1196 | SUNDAY SPOON |  | 15
1197 | SALAD TONG |  | 1
1198 | SIDE BORD |  | 2
1199 | STRAW HOLDER |  | 4
1200 | SOUP BOWL |  | 15
1201 | SUGAR POT |  | 5
1202 | SAUCE BOAT |  | 1
1203 | SALVER BLACK SMALL |  | 2
1204 | SALVER BLACK LARGE |  | 4
1205 | TEA POT |  | 5
1206 | TEA SPOON |  | 29
1207 | WHITE BOARD |  | 1
1208 | WATER JUG |  | 9
1209 | WINE OPENER |  | 1
1210 | WINE STOPER |  | 1
1211 | WATER GOBLET |  | 40
1212 | TEA POT (flask) |  | 1
1213 | GLOVES COTTON |  | 10
1214 | PICKLE JAR WITH LID |  | 10
1215 | DISPLAY COUNTER |  | 1
1216 | REFRIGATOR (PEPSI) |  | 1
1217 | HOT PLATE |  | 1
1218 | TEA COFEE DISPENSER MACHINE |  | 1
1219 | GRILLER |  | 1
1220 | COFFEE MACHINE |  | 1
1221 | DEEP FRYIER MACHINE |  | 1
1222 | PLATE WORMER |  | 1
1223 | SINK (DISH WASHING) |  | 1
1224 | REFRIGERETOR (SINGLE DOOR) |  | 1
1225 | JUICER GRINDER MACHINE |  | 1
FRONT OFFICE LAB
1226 | FAN |  | 3
1227 | TUBELIGHT |  | 3
1228 | FACULITY CHAIR |  | 1
1229 | STUDENT CHAIR |  | 20
1230 | SOFA SET |  | 3
1231 | SIDE TABLE |  | 2
1232 | LUGGAGE TROLLEY |  | 1
1233 | WALL CLOCK |  | 5
1234 | WHITE BOARD |  | 1
1235 | NOTICE BOARD |  | 3
1236 | WALL PICTURE |  | 7
1237 | TABLE |  | 2
1238 | FRONT OFFICE DESK |  | 1
1239 | COMPUTER |  | 1
1240 | NOTICE BOARD STAND BRASS |  | 1
1241 | KEY BOARD (KEYS) |  | 2
1242 | TENT CARD RACK |  | 1
1243 | TELEPHONE |  | 2
1244 | WOODEN SOFA TABLE |  | 1
1245 | OHP |  | 1
1246 | DUST BIN |  | 2
1247 | CHANDLIER |  | 1
1248 | PODIUM |  | 1
1249 | BELL DESK PODIUM |  | 1
1250 | CURTAIN |  | 11
1251 | FAN |  | 3
1252 | TUBELIGHT |  | 3
1253 | WALL CLOCK |  | 5
1254 | COMPUTER |  | 1
1255 | TELEPHONE |  | 2
1256 | OHP |  | 1
HOUSE KEEPING LAB
1257 | CLOCK |  | 1
1258 | STEAM IRON |  | 1
1259 | EXTENSION BOARD |  | 1
1260 | FAN |  | 7
1261 | TUBELIGHT |  | 6
1262 | NIGHT LAMP |  | 1
1263 | TABLE LAMP |  | 1
1264 | TELEVISION |  | 1
1265 | TEXTILE PRECESSING MACHINE |  | 1
1266 | HYDROEXACTOR |  | 1
1267 | TUMBLER DRYIER |  | 1
1268 | WASHING MACHINE |  | 1
1269 | FLOOR SCRUBBING MACHINE |  | 1
1270 | VACCUM CLEANER |  | 2
1271 | ROOM TROLLEY |  | 1
1272 | TELEPHONE SET |  | 1
1273 | VACCUM CLEANER WET AND DRY |  | 1
1274 | SEWING MACHINE |  | 1
1275 | WOODEN CUTTER |  | 1
1276 | SCISSOR |  | 3
1277 | GYSER |  | 1
LIST OF EQUIPMENT BASIC TRAINING KITCHEN
1278 | COOKING RANGE |  | 14
1279 | CONICAL STRAINER |  | 2
1280 | CHOPPING BOARD |  | 6
1281 | CHAIR PLASTIC |  | 1
1282 | DUST BIN |  | 3
1283 | FAN |  | 1
1284 | GRILLER DOUBLE |  | 1
1285 | STEEL GRATER |  | 3
1286 | IRON ALMIRAH |  | 2
1287 | SS. POT RACK |  | 1
1288 | SS RACK |  | 1
1289 | WASH BASIN SS |  | 8
1290 | WORKING TABLE SS |  | 14
1291 | DEMO TABLE SS |  | 1
1292 | TUBE LIGHT |  | 2
1293 | WOODEN LADDLE |  | 10
1294 | S.SALENDER |  | 1
1295 | SS OVEN |  | 1
1296 | 3 SINK UNIT |  | 1
1297 | WHITE BOARD |  | 1
1298 | NOTICE BOARD |  | 1
1299 | TELEPHONE |  | 1
1300 | HORIZONLAL SS TWO DOOR FRIDGE |  | 1
1301 | GLASS DISPLAY FRIDGE |  | 1
1302 | EXHAUST HOOD |  | 14
1303 | FACULTY TABLE WITH CHAIR |  | 1
LIST OF EQUIPMENT BAKERY
1304 | DOUBLE DECK OVEN |  | 1
1305 | PROOFING CHAMBER |  | 1
1306 | MIXING MACHINE WITH ATTACHMENT |  | 1
1307 | UTILITY RACK SS |  | 1
1308 | SINK SS |  | 4
1309 | UTILITY TABLE SS |  | 1
1310 | WORK TABLE SS |  | 9
1311 | MARBLE TOP TABLE |  | 1
1312 | FOUR BURNER GAS RANGE |  | 1
1313 | MICROWAVE |  | 1
1314 | GEYSER |  | 1
1315 | FRIDGE TROULSEN SS |  | 1
1316 | BREAD MOULD ASSORTED |  | 8
1317 | CAKE MOULD ASSORTED |  | 8
1318 | WHISKER |  | 10
1319 | ROLLING PIN |  | 1
1320 | MEASURING JUG |  | 1
1321 | CAKE STAND |  | 1
1322 | FRIDGE HORIZONATAL |  | 1
1323 | WHITE BOARD |  | 1
1324 | GLASS ALMIRAH |  | 1
1325 | IRON ALMIRAH |  | 1
1326 | WEIGHING SCALE ELECTRONIC |  | 1
1327 | FACULTY TABLE |  | 1
1328 | FACULTY CHAIR |  | 1
Principal Office
1329 | FAN |  | 3
1330 | TUBELIGHT |  | 4
1331 | monitor |  | 1
1332 | cpu |  | 1
1333 | mouse |  | 1
1334 | key bord |  | 1
1335 | Telephone |  | 4
1336 | A/C |  | 1
1337 | Projector |  | 2
1338 | Printer |  | 1
1339 | Steaplizer |  | 1
QFK LAB
1340 | Cooking Range |  | 6
1341 | Hot Plate |  | 1
1342 | Gas Tandoor |  | 1
1343 | Coal Tandoor |  | 1
1344 | Barbeque |  | 1
1345 | Idly Maker |  | 1
1346 | Potato Pealer |  | 1
1347 | Keema Mechine |  | 1
1348 | Grinder |  | 1
1349 | Oven |  | 1
1350 | Fridge |  | 1
1351 | Tilting Pan |  | 1
1352 | Working Table |  | 9
1353 | Sink |  | 3
1354 | Fan |  | 3
1355 | Tube Light |  | 5
School of Agriculture Science Research
CROP PRODUCTION LAB
1356 | Sprit lamp |  | 1
1357 | Electric balance | - | 1
1358 | Sieve shaker with sieves |  | 1
1359 | Soil core sampler |  | 1
1360 | PH Meter |  | 1
1361 | Conductivity Meter |  | 1
1362 | Soil thermometer |  | 10
1363 | Rain gauge |  | 1
1364 | Rain gauge self recording |  | 1
1365 | Wet & dry bulb thermometer |  | 10
1366 | Maximum & minimum thermometer |  | 4
1367 | Anemometer digital recording type |  | 2
1368 | Wind van meter |  | 1
1369 | Maxm minm thermometer |  | 5
1370 | Knack sprayer |  | 1
1371 | Hand sprayer |  | 3
Department of Computer Applications
DBA Lab
1372 | Computers | HCL | 27
1373 | Mother Board | MSI G31 Mother Board | 27
1374 | CPU | 2.00 GHz duel core processor | 27
1375 | Moniter 15" (TFT) | HCL | 27+1=28
1376 | Keyboard | HCL +Other Model | 27
1377 | Mouse | HCL + Other Model | 27
1378 | Hard disk | 160 GB | 27
1379 | Ram | 1 GB | 27
1380 | 16 Port Switch | D-Links | 1
1381 | 16 Port Switch | D-Links | 1
WD Lab
1382 | Computers | HCL | 25
1383 | Mother Board | MSI G31 Mother Board | 25
1384 | CPU | 2.00 GHz duel core processor | 25
1385 | Moniter 15" (TFT) | HCL + Other | 28
1386 | Keyboard | HCL+ Other | 25
1387 | Mouse | HCL + Other | 25
1388 | Hard disk | 160 GB | 25
1389 | Ram | 1 GB +1 Ram 512 | 25
1390 | 16 Port Switch | D-Links | 1
1391 | 16 Port Switch | D-Links | 1
CG Lab
1392 | Computers | Acer | 25
1393 | Mother Board | Intel Chipset 845 | 25
1394 | CPU | 1.60GHz | 25
1395 | Moniter 15" (TFT) | Acer | 25
1396 | Keyboard | HCL+ Other | 25
1397 | Mouse | HCL+ Other | 25
1398 | Hard disk | 80 GB | 25
1399 | Ram | 512MB | 25
1400 | 16 Port Switch | D-Links + Other | 2
KDC-I Lab
1401 | Computers | HCL | 24
1402 | Mother Board | Intel-865 (HCL) | 24
1403 | CPU | Celeron 3.2 Ghz | 24
1404 | Moniter 17" (CRT) | HCL | 24
1405 | Keyboard | HCL | 24
1406 | Mouse | HCL | 24
1407 | Hard disk | 80 GB | 24
1408 | Ram | 1 GB + 512 MB | 25
1409 | 24 Port Switch | D-Links | 1
1410 | 9 Port Swith | Other | 1
KDC-II Lab
1411 | Computer | HCL | 24
1412 | Mother Board | Intel-865 (HCL) | 24
1413 | CPU | Celeron 3.2 Ghz | 24
1414 | Moniter 17" (CRT) | HCL | 24
1415 | Keyboard | HCL | 24
1416 | Mouse | HCL | 24
1417 | Hard disk | 80 GB | 24
1418 | Ram | 1 GB + 512 MB | 24
1419 | 24 Port Switch | D-Links | 1